## water_quality_ranges
Parameter | Min | Max
Water Temperature (°C) | 26 | 32
Conductivity (μS/cm) | 42000 | 52000
Turbidity (NTU) | 0 | 25
Dissolved Oxygen (mg/L) | 4 | 10
pH (pH unit) | 7.5 | 9
Chlorophyll-a (μg/L) | 0 | 20
Crude Oil (ppm) | 0 | 0.5
Fine Oil (ppm) | 0 | 0.5